## Figures and Tables
Graphics Used in Report |  | Tables Used in Report
Figure 1 - Data Center Market Size Forecast (2025-2034) |  | Figure 3 - Data Center vs Traditional Real Estate Revenue Model
|  | Metric | Data Centers | Traditional Real Estate
|  | Cost Driver | $/kW/month | $/sqft/month
|  | Key Constraint | Power | Space
|  | Typical Price/Unit | $120-180 | $2-4
|  | Asset Scale | 30,000 kW | 150,000-250,000 sqft
|  | Revenue Potential | 4500000 | 600000
|  | Revenue Density ($/sqft)* | $20-30 | $2-4
Figure 16 - Criteria of Market Selection for Data Center Investment, Ranked
|  | Importance | Criteria | Weight
|  | 1 | Power Availability | High
|  | 2 | Land Availability | High
|  | 3 | Market Size | High
|  | 4 | Capacity Under Construction | Medium
|  | 5 | Planned Capacity | Medium
|  | 6 | Land Price | Medium
Figure 2 - Data Center Load Growth Forecast, Low and High Scenarios (TWh) |  | 7 | Fiber Connectivity | Medium
|  | 8 | Vacancy & Absorption | Medium
|  | 9 | Regulations & Incentives | Medium
|  | 10 | Power Cost | Medium
|  | 11 | Cloud Availability | Medium
|  | 12 | Renewable Power Options | Medium
|  | 13 | Environmental Risk | Low
|  | 14 | Taxes | Low
|  | 15 | Water Availability | Low
|  | 16 | Political Stability | Low
Figure 4 - Data Center Capex and Cash Flow Model
Source: | https://thundersaidenergy.com/downloads/data-centers-the-economics/
Figure 5 - Data Center Capex by Equipment Type
Figure 6 - Data Center Opex by Cooling Mechanism Used
Figure 7 - Electric System Operator Territories in the United States
Source: | https://www.eia.gov/electricity/monthly/update/wholesale-markets.php
Figure 8 - Industrial Electricity Rates by Region ($/kWh)
Figure 9 - Annual Energy Consumption by Data Center Size (GWh)
Figure 10 - Annual Energy Costs by Data Center Size ($M)
Figure 11 - Annual Energy Costs Increase From a $0.01/kWh Price Increase
Figure 12 - Total Power Capacity (GW) in Interconnection Queues
Figure 13 - Total Time Between Interconnection Request (IR) and Agreement (IA)
Figure 14 - Average Time From Interconnection Request (IR) to Commercial Operations Date (COD)
Figure 15 - Cumulative Opex (Low vs Med vs High Scenarios, 30MW Data Center)

## Figure 1
Data Center Market Size Forecast (2025-2034)
INPUTS
Source: | https://www.fortunebusinessinsights.com/data-center-market-109851 | Year | Market Size ($B) | CAGR (%) | 11.1%
|  | 2025 | 269.79
|  | 2026 | 300.64
|  | 2027 | 334.011
|  | 2028 | 371.0863
|  | 2029 | 412.2768
|  | 2030 | 458.0396
|  | 2031 | 508.882
|  | 2032 | 565.3679
|  | 2033 | 628.1237
|  | 2034 | 697.8454

## Figure 2
Data Center Load Growth Forecast, Low and High Scenarios (TWh)
INPUTS
Source: | https://escholarship.org/uc/item/32d6m0d1
Interpolated
|  | Year | Low Scenario | High Scenario
|  | 2014 | 60 | 60
|  | 2015 | 60 | 60
|  | 2016 | 60 | 60
|  | 2017 | 67.5278 | 67.5278
|  | 2018 | 76 | 76
|  | 2019 | 89.8987 | 89.8987
|  | 2020 | 106.3392 | 106.3392
|  | 2021 | 125.7862 | 125.7862
|  | 2022 | 148.7897 | 148.7897
|  | 2023 | 176 | 176
|  | 2024 | 198.9696 | 223.4065
|  | 2025 | 224.937 | 283.5821
|  | 2026 | 254.2934 | 359.9663
|  | 2027 | 287.481 | 456.925
|  | 2028 | 325 | 580

## Figure 5
Data Center Capex by Equipment Type
INPUTS
Source: | https://dgtlinfra.com/how-much-does-it-cost-to-build-a-data-center/
Data Center Capex Components
Cost Component | Low Range | High Range
Fire Suppression | 15 | 25
Land | 25 | 75
Building Shell | 80 | 160
Building Fit-Out | 100 | 200
HVAC / Mechanical / Cooling | 125 | 215
Electrical Systems | 280 | 460
Total Development Costs | 625 | 1135

## Figure 6
Data Center Opex by Cooling Mechanism Used
INPUTS
Source: | https://www.linkedin.com/pulse/understanding-total-cost-ownership-tco-10-mw-ai-data-kp5oc/
|  | Data Center Type | Energy | Maintenance
|  | Air Cooled | 10.75 | 12.35
|  | Immersion Cooled | 6.63 | 7.57

## Figure 8
Industrial Electricity Rates by Region ($/kWh)
INPUTS
Source: | https://www.eia.gov/electricity/monthly/epm_table_grapher.php?t=epmt_5_6_a
Region | $/kWh
West South Central | 0.0647
East South Central | 0.0713
Mountain | 0.0721
West North Central | 0.0755
South Atlantic | 0.0825
U.S. Total | 0.0853
East North Central | 0.0919
Middle Atlantic | 0.1074
Pacific Contiguous | 0.1405
New England | 0.1879

## Figures 9, 10, and 11
Annual Energy Consumption by Data Center Size |  |  |  | Annual Energy Costs by Data Center Size |  |  |  |  | Annual Energy Costs Increase From a $0.01/kWh Price Increase
INPUTS
Annual Energy Consumption by Data Center Size |  | Costs by Market Size |  | Annual Energy Costs by Data Center Size |  |  |  |  | Annual Energy Costs Increase From a $0.01/kWh Price Increase
Data Center Size | Annual Energy Consumption | Low Cost Market | 0.0647 | Data Center Size | Annual Energy Consumption | Low Cost Market | Medium Cost Market | High Cost Market | Data Center Size | $0.01/kWh Energy Price Increase
10 MW | 87600 | Medium Cost Market | 0.0853 | 10 MW | 87600 | 5667720 | 7472280 | 16460040 | 10 MW | 876000
20 MW | 175200 | High Cost Market | 0.1879 | 20 MW | 175200 | 11335440 | 14944560 | 32920080 | 20 MW | 1752000
30 MW | 262800 |  |  | 30 MW | 262800 | 17003160 | 22416840 | 49380120 | 30 MW | 2628000
40 MW | 350400 |  |  | 40 MW | 350400 | 22670880 | 29889120 | 65840160 | 40 MW | 3504000
50 MW | 438000 |  |  | 50 MW | 438000 | 28338600 | 37361400 | 82300200 | 50 MW | 4380000

## Figures 12, 13 and 14
Total Power Capacity (GW) in Interconnection Queue |  |  |  | Median Time Between Interconnection Request (IR) and Agreement (IA) |  |  | Total Time From Interconnection Request (IR) to Commercial Operations Date (COD)
INPUTS
Source: | https://emp.lbl.gov/queues |  |  |  | Source: | https://emp.lbl.gov/queues | Average Months per Region
[7 empty] | Region | Average # of Months
Year | Queued In Previous Year | Queued in Current Year |  |  | Year of IA | Median # of Months | West | 24.9064
2014 | 197.6 | 127 |  |  | 2000 | 37.3522 | ERCOT | 43.4691
2015 | 227.1 | 136.4 |  |  | 2001 | 19.1196 | PJM | 44.1032
2016 | 218.7 | 202.1 |  |  | 2002 | 6.8003 | SPP | 54.6337
2017 | 272 | 233.6 |  |  | 2003 | 8.6399 | NYISO | 60.501
2018 | 362.1 | 276.7 |  |  | 2004 | 13.5348 | CAISO | 74.453
2019 | 434.2 | 299.1 |  |  | 2005 | 15.5388
2020 | 612.9 | 348.6 |  |  | 2006 | 15.9823 | Pivot Summary
2021 | 810 | 560.6 |  |  | 2007 | 14.8489 | Row Labels | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | Grand Total
2022 | 1282.3 | 759.1 |  |  | 2008 | 15.933 | CAISO | 55.2891 | 63.5348 | 68.5775 | 65.933 | 70.8771 | 83.0486 | 79.1064 | 62.5493 | 95.1708 | 100.4435 | 74.453
2023 | 1689.6 | 908 |  |  | 2009 | 22.9304 | ERCOT | 44.9737 | 40.8673 | 36.4488 | 44.5466 | 55.634 | 50.23 | 37.0237 | 40.9658 | 37.4507 | 46.5506 | 43.4691
[5 empty] | 2010 | 28.3837 | NYISO | 33.0815 | 56.866 | 53.5644 | 50.2628 | 46.6163 | 58.1143 | 94.3824 | 82.0302 | 53.6465 | 76.4455 | 60.501
[5 empty] | 2011 | 30.5848 | PJM | 42.6413 | 28.7122 | 41.1958 | 37.1222 | 42.707 | 36.3995 | 33.4757 | 53.6137 | 63.7319 | 61.4323 | 44.1032
[5 empty] | 2012 | 33.4757 | SPP | 64.7503 | 34.0506 | 25.4106 | 50.7556 | 44.5138 | 50.6899 | 55.7819 | 58.8042 | 71.5506 | 90.0296 | 54.6337
[5 empty] | 2013 | 29.435 | West | 19.1524 | 10.5782 | 17.0171 | 14.5532 | 5.5848 | 25.3285 | 36.0545 | 7.6216 | 78.2194 | 34.954 | 24.9064
[5 empty] | 2014 | 20.138 | Grand Total | 43.3147 | 39.1015 | 40.369 | 43.8622 | 44.3222 | 50.6351 | 55.9708 | 50.9308 | 66.6283 | 68.3092 | 50.3444
[5 empty] | 2015 | 19.5138
[5 empty] | 2016 | 19.8916 | Source: | 2014: https://emp.lbl.gov/queues
[5 empty] | 2017 | 25.23
[5 empty] | 2018 | 27.5131 | Raw Data Table
[5 empty] | 2019 | 31.406 | In-Service Year | 2014: Region; 2015: Median
[5 empty] | 2020 | 32.9993 | 2014 | 2014: CAISO; 2015: 55.2891
[5 empty] | 2021 | 32.0466 | 2014 | 2014: ERCOT; 2015: 44.9737
|  |  | p25 |  | 2022 | 36.3338 | 2014 | 2014: NYISO; 2015: 33.0815
|  |  | 31.9399 |  | 2023 | 34.8883 | 2014 | 2014: PJM; 2015: 42.6413
|  |  | 7.7201 |  |  |  | 2014 | 2014: SPP; 2015: 64.7503
|  |  | 3.047 |  |  |  | 2014 | 2014: West; 2015: 19.1524
|  |  | 3.5151 |  |  |  | 2015 | 2014: CAISO; 2015: 63.5348
|  |  | 6.0118 |  |  |  | 2015 | 2014: ERCOT; 2015: 40.8673
|  |  | 8.8699 |  |  |  | 2015 | 2014: NYISO; 2015: 56.866
|  |  | 10.3893 |  |  |  | 2015 | 2014: PJM; 2015: 28.7122
|  |  | 8.5742 |  |  |  | 2015 | 2014: SPP; 2015: 34.0506
|  |  | 9.3791 |  |  |  | 2015 | 2014: West; 2015: 10.5782
|  |  | 15.7687 |  |  |  | 2016 | 2014: CAISO; 2015: 68.5775
|  |  | 15.4074 |  |  |  | 2016 | 2014: ERCOT; 2015: 36.4488
|  |  | 15.5388 |  |  |  | 2016 | 2014: NYISO; 2015: 53.5644
|  |  | 20.0805 |  |  |  | 2016 | 2014: PJM; 2015: 41.1958
|  |  | 17.5756 |  |  |  | 2016 | 2014: SPP; 2015: 25.4106
|  |  | 12.2536 |  |  |  | 2016 | 2014: West; 2015: 17.0171
|  |  | 12.73 |  |  |  | 2017 | 2014: CAISO; 2015: 65.933
|  |  | 15.0049 |  |  |  | 2017 | 2014: ERCOT; 2015: 44.5466
|  |  | 17.6905 |  |  |  | 2017 | 2014: NYISO; 2015: 50.2628
|  |  | 17.6248 |  |  |  | 2017 | 2014: PJM; 2015: 37.1222
|  |  | 26.9547 |  |  |  | 2017 | 2014: SPP; 2015: 50.7556
|  |  | 21.7395 |  |  |  | 2017 | 2014: West; 2015: 14.5532
|  |  | 19.9573 |  |  |  | 2018 | 2014: CAISO; 2015: 70.8771
|  |  | 22.3719 |  |  |  | 2018 | 2014: ERCOT; 2015: 55.634
|  |  | 18.0026 |  |  |  | 2018 | 2014: NYISO; 2015: 46.6163
[7 empty] | 2018 | 2014: PJM; 2015: 42.707
[7 empty] | 2018 | 2014: SPP; 2015: 44.5138
|  |  | p25 |  |  |  | 2018 | 2014: West; 2015: 5.5848
|  |  | 48.8173 |  |  |  | 2019 | 2014: CAISO; 2015: 83.0486
|  |  | 28.0223 |  |  |  | 2019 | 2014: ERCOT; 2015: 50.23
|  |  | 27.9731 |  |  |  | 2019 | 2014: NYISO; 2015: 58.1143
|  |  | 17.3127 |  |  |  | 2019 | 2014: PJM; 2015: 36.3995
|  |  | 36.5884 |  |  |  | 2019 | 2014: SPP; 2015: 50.6899
|  |  | 13.7648 |  |  |  | 2019 | 2014: West; 2015: 25.3285
|  |  | 56.6032 |  |  |  | 2020 | 2014: CAISO; 2015: 79.1064
|  |  | 30.5026 |  |  |  | 2020 | 2014: ERCOT; 2015: 37.0237
|  |  | 56.866 |  |  |  | 2020 | 2014: NYISO; 2015: 94.3824
|  |  | 19.366 |  |  |  | 2020 | 2014: PJM; 2015: 33.4757
|  |  | 29.7388 |  |  |  | 2020 | 2014: SPP; 2015: 55.7819
|  |  | 5.1495 |  |  |  | 2020 | 2014: West; 2015: 36.0545
|  |  | 61.9251 |  |  |  | 2021 | 2014: CAISO; 2015: 62.5493
|  |  | 26.6919 |  |  |  | 2021 | 2014: ERCOT; 2015: 40.9658
|  |  | 96.6163 |  |  |  | 2021 | 2014: NYISO; 2015: 82.0302
|  |  | 27.7595 |  |  |  | 2021 | 2014: PJM; 2015: 53.6137
|  |  | 20.6965 |  |  |  | 2021 | 2014: SPP; 2015: 58.8042
|  |  | 14.9803 |  |  |  | 2021 | 2014: West; 2015: 7.6216
|  |  | 54.3446 |  |  |  | 2022 | 2014: CAISO; 2015: 95.1708
|  |  | 37.27 |  |  |  | 2022 | 2014: ERCOT; 2015: 37.4507
|  |  | 50.2628 |  |  |  | 2022 | 2014: NYISO; 2015: 53.6465
|  |  | 20.3351 |  |  |  | 2022 | 2014: PJM; 2015: 63.7319
|  |  | 38.5348 |  |  |  | 2022 | 2014: SPP; 2015: 71.5506
|  |  | 11.7937 |  |  |  | 2022 | 2014: West; 2015: 78.2194
|  |  | 42.1239 |  |  |  | 2023 | 2014: CAISO; 2015: 100.4435
|  |  | 43.865 |  |  |  | 2023 | 2014: ERCOT; 2015: 46.5506
|  |  | 31.7838 |  |  |  | 2023 | 2014: NYISO; 2015: 76.4455
|  |  | 22.224 |  |  |  | 2023 | 2014: PJM; 2015: 61.4323
|  |  | 35.7917 |  |  |  | 2023 | 2014: SPP; 2015: 90.0296
|  |  | 5.3876 |  |  |  | 2023 | 2014: West; 2015: 34.954
67.8384
31.8413
51.7411
19.251
44.9409
23.111
75.7638
29.1064
94.3824
9.6912
49.0309
32.9583
35.4139
28.0388
67.1649
25.4846
54.4021
4.5007
82.4901
30.1413
49.9671
43.9882
71.4028
51.1005
90.6948
37.2372
64.159
47.8318
62.0976
23.1932

## Figure 15
Cumulative Opex (Low vs Med vs High Scenarios, 30MW Data Center)
INPUTS
Cumulative Opex (Low vs Med vs High Scenarios, 30MW Data Center)
Year | Low Cost | Medium Cost | High Cost
1 | 17003160 | 22416840 | 49380120 | 30 MW
2 | 34006320 | 44833680 | 98760240 | Low Cost | 17003160
3 | 51009480 | 67250520 | 148140360 | Medium Cost | 22416840
4 | 68012640 | 89667360 | 197520480 | High Cost | 49380120
5 | 85015800 | 112084200 | 246900600
6 | 102018960 | 134501040 | 296280720
7 | 119022120 | 156917880 | 345660840
8 | 136025280 | 179334720 | 395040960
9 | 153028440 | 201751560 | 444421080
10 | 170031600 | 224168400 | 493801200

## Figure 16
Criteria of Market Selection for Data Center Investment, Ranked
Importance | Criteria | Weight
1 | Power Availability | High
2 | Land Availability | High
3 | Market Size | High
4 | Capacity Under Construction | Medium
5 | Planned Capacity | Medium
6 | Land Price | Medium
7 | Fiber Connectivity | Medium
8 | Vacancy & Absorption | Medium
9 | Regulations & Incentives | Medium
10 | Power Cost | Medium
11 | Cloud Availability | Medium
12 | Renewable Power Options | Medium
13 | Environmental Risk | Low | T
14 | Taxes | Low
15 | Water Availability | Low
16 | Political Stability | Low
INPUTS
Source: | https://www.cushmanwakefield.com/en/insights/global-data-center-market-comparison#key%20evaluation%20metrics